West Farmington

Ohio EPA PWS OH7803911

Drinking Water Consumer Confidence

Report For 2025

West Farmington has prepared the following report to provide information to you, the consumer, on the quality of our drinking water. Included within this report is general health information, water quality test results, and how to participate in decisions concerning your drinking water and water system contacts.

Source Water Information

West Farmington buys their water directly from Trumbull County who gets some of theirs from Braceville Twp.  A well-susceptible analysis was done for all parties involved and the results of it can be found on the OEPA website.

What are sources of contamination to drinking water?

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up

substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include: (A) Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife; (B) Inorganic contaminants, such as salts and metals, which can be naturally- occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming; (C) Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses; (D) Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems; (E) Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

To ensure that tap water is safe to drink, USEPA prescribes regulations which limit the number of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least some small amounts of contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Federal Environmental Protection Agency’s Safe Drinking Water Hotline (1-800-426-4791).

Who needs to take special precautions?

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised people, such as people with cancer undergoing chemotherapy, people who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infection. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

About your drinking water

The EPA requires regular sampling to ensure drinking water safety.  West Farmington

conducted sampling for bacteria; inorganic; disinfection biproducts in 2025. Samples were collected for different contaminants, most of which were not detected in the West Farmington water supply. The Ohio EPA requires us to monitor some contaminants less than once per year because the concentration of these contaminants does not change frequently. Some of our data, though accurate, is more than one year old.

Monitoring & Reporting Violations & Enforcement Actions

None

Listed below is information on those contaminants that were found in the West Farmington drinking water.

| TABLE OF DETECTED CONTAMINANTS |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminants (Units) | MCLG | MCL | Level Found | Range of Detections |  |  |  | Violation | Sample Year |  | Typical Source of Contaminants |  |
| Disinfectant and Disinfectant By-Products |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Chlorine (ppm) | MRDLG = 4 | MRDL = 4 | 0.65 | 0.46 – 0.76 |  |  |  | No | 2025 |  | Water additive used to control microbes |  |
| Haloacetic Acids (HAA5) (ppb) | N/A | 60 | 51.03 | 36.1 – 54.2 |  |  |  | No | 2025 |  | By-product of drinking water disinfection |  |
| Total Trihalomethanes (TTHM) (ppb) | N/A | 80 | 71.90 | 52.70 – 79.7 |  |  |  | No | 2025 |  | By-product of drinking water disinfection |  |
| Lead and Copper |  |  |  |  |  |  |  |  |  |  |  |  |
| Contaminants (units) | Action Level (AL) | MCLG | Individual Results over the AL | 90% of test levels were less than |  |  | Violation | Year Sampled |  | Typical source of Contaminants |  |  |
| Lead (ppb) | 15 ppb | 0 ppb | 0 | 0 |  |  | No | 2025 |  | Corrosion of household plumbing systems; erosion of natural deposits |  |  |
|  | 0_ out of _10___ samples were found to have lead levels in excess of the lead action level of 15 ppb. |  |  |  |  |  |  |  |  |  |  |  |
| Copper (ppm) | 1.3 ppm | 1.3 ppm | 0 | 0.0621 |  |  | No | 2025 |  | Erosions of natural deposits; leaching from wood preservatives; Corrosions of household plumbing systems |  |  |
|  | __0_ out of _10___ samples were found to have copper levels in excess of the copper action level of 1.3 ppm. |  |  |  |  |  |  |  |  |  |  |  |

Lead Educational Information

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. {Name of Water System} is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline at 800-426-4791 or at http://www.epa.gov/safewater/lead.

Service Line inventory

Per Lead and Copper Rule, Public Water Systems were required to develop and maintain a service line inventory. A service line is an underground pipe that supplies your home or building with water. The Village has a Service Line Inventory on file.

License to Operate (LTO) Status Information

In 2025 we had an unconditioned license to operate our water system.

Public Participation and Contact Information

How do I participate in decisions concerning my drinking water?

While we do not hold regular meetings, customers are encouraged to participate by contacting West Farmington Water Dept at 330-246-0524

Contaminants detected at Braceville Twp via Trumball County water